## LSUHSC Instruments
Instruments | Capabilities and preferred use | [7 empty] | Intended Use
Current Available in August 2023 | Proteomics |  |  |  | Metabolomics |  |  |  | Discovery | Translation/Routine Service | Clinical
| Multi Cell |  | Single Cell |  | Multi Cell |  | Single Cell |  | Highly flexible focusing to maximize data output and target discovery. Typical sample #: tens | Method optimization focusing to validate analytical method and molecular targets. Typical sample #: hundreds | Defined Standard Operational Procedures focusing on robustness and reproducibility. Typical sample #: thousands
| Profiling Shotgun | Targeted | FACS based | MALDI Imaging | Profiling Shotgun | Targeted | FACS based | MALDI Imaging
Bruker's timsTOF fleX with ESI and MALDI | x |  | x | x | x |  | x | x | x
Fisher Orbitrap Fusion Tribrid | x |  | x |  | x |  | x |  | x | x | x
Thermo Fisher Q Exactive Plus | x |  | x |  | x |  | x |  | x | x
Thermo Fisher Q Exactive Plus | x |  | x |  | x |  | x |  |  | x | x
Agilent's 6495 Triple Quadrupole LC/MS |  | x |  |  |  | x |  |  | x | x
Agilent's 6475 Triple Quadrupole LC/MS |  | x |  |  |  | x |  |  |  | x | x
Agilent 7250 GCMS QTOF with EI and CI sources |  |  |  |  | x |  |  |  | x | x

## LSUHSC Service
Metabolomics Fee at LSUHSC - Draft 1 | Proteomics Fee at LSUHSC - Draft 1
Full Services | Full Services
LC-MRM-MS/MS Targeted Analysis | LC-MRM-MS/MS Targeted Analysis
LC-MS Global Profiling - All metabolites (C18) | LC-MS Profiling
LC-MS Global Profiling - Polar metabolites (HILIC) | LC-MS/MS Protein Identification 1 hr run
LC-MS Lipidomics (C8 and/or C18) | 2 hr run
LC-MS/MS Metabolite Identification (Shotgun) 1 hr run | Label-Free Quantification using Shotgun LC-MS/MS 1 hr run
2 hr run | 2 hr run
GC-MS Global Profiling - Polar metabolites | Method Development/Sample Preparation
GC-MS Global Profiling - Fatty Acids | Data Processing and Analysis
LC- and GC-MS Combo Profiling
Method Development/Sample Preparation | Specialized Services
Data Processing and Analysis | Label-Based Quantification
Phospho-/Glyco and other Selective Proteomics
Specialized Services | MALDI Imaging
Label-Based Quantification
MALDI Imaging | Self Service*
Training
Self Service* | Instrument Time LC-QQQ-MS
Training | Instrument Time LC-Orbi-MS
Instrument Time LC-QQQ-MS | Instrument Time LC-timstof-MS
Instrument Time LC-Orbi-MS
Instrument Time LC-timstof-MS | *Self-service instrument time rates only apply to users previously trained.
*Self-service instrument time rates only apply to users previously trained.